INSTALLATION

Install in accordance with manufacturer's instructions.

Cut and Miter Schluter-VINPRO profiles with Freud Tooth Carbide Tipped Miter Saw Blade for Non-Ferrous Aluminum Cutting Fine Finish or equal.

See proper cutting and mitering of aluminum Schluter Systems Profiles:

https://www.youtube.com/watch?v=s0kGTJp01RE

Adhere Schluter Systems VINPRO profiles to polycarbonate panels and align using Schluter-KERDI-FIX adhesive or equal.  Flat trowel the KERDI FIX to allow for flush fit to substrate.  Remove any KERDI-FIX from the exposed Schluter Profiles and polycarbonate panels using mineral spirts.

See recommend cleaning and removal of excess KERDI-FIX:

https://www.youtube.com/watch?v=7LY2q4bgEXg

Contact Earl Maicus with Schluter Systems at emaicus@schluter.com or Cel: 518-420-3618 for installation and product support.

Earl Maicus
Senior National Accounts Manager
Schluter Systems L.P.
Cel: 518-420-3618
Email: emaicus@schluter.com